PRODUCT DATA SHEET

Coping upstand for right-hand side, parapet walls / roofs

240mm-660mm, coping widths

# Status: 16.07.2026

SLOPE

A

100mm

| Designation |  | Coping upstand for right-hand side for parapet walls / roofs |  |
| --- | --- | --- | --- |
| Description |  | Aluminium coping upstand RHS, polyester powder coated |  |
| Product area |  | Roof |  |
| Product category |  | Coping |  |
| Material |  | 2mm aluminum, polyester powder-coated |  |
| Length |  | 100mm |  |
| Customs tariff number |  | 76042990 |  |
| Code | Dim A (mm) | Wall width range (mm) | Material thickness (mm) |
| CAP-UPR-240 | 240 | 150-180 | 2.0 |
| CAP-UPR-300 | 300 | 180-240 | 2.0 |
| CAP-UPR-360 | 360 | 240-300 | 2.0 |
| CAP-UPR-420 | 420 | 300-360 | 2.0 |
| CAP-UPR-480 | 480 | 360-420 | 2.0 |
| CAP-UPR-540 | 540 | 420-480 | 2.0 |
| CAP-UPR-600 | 600 | 480-540 | 2.0 |
| CAP-UPR-660 | 660 | 540-600 | 2.0 |

Various colours options are available. Please see pricelist.

This product data sheet reflects the current stage of development of our products and will be superseded upon release of a newer edition. Please ensure you are referring to the most up-to-date version of this document.

Our warranty and liability obligations apply only to goods supplied in accordance with our current terms and conditions of sale. Please follow all relevant installation, application, and storage guidelines when using this product.

All information is provided without guarantee and is subject to technical modification without prior notice. Product images are for illustration purposes only and may differ from the product supplied. Please dispose of all materials responsibly and in accordance with UK environmental regulations.